# Risk Assessment: Compendial Method Verification Characteristic Selection

This is a ready-to-use risk assessment for selecting which characteristics to verify when you set up a compendial method under USP General Chapter <1226>. It produces the documented rationale that is the heart of a verification study: which characteristics are at risk under your conditions, and why the others are not. Replace every <<FILL: ...>> placeholder with your own specifics. A worked filled specimen follows the template. This is general guidance to adapt, not regulatory advice; confirm the current USP-NF edition before relying on it.

# Document control header

| Field | Entry |
| --- | --- |
| Title | Verification Characteristic Selection: <<FILL: attribute / method>> |
| Document number | <<FILL>> |
| Linked protocol | <<FILL: protocol ID>> |
| Article | <<FILL>> |
| Compendial reference and edition | <<FILL>> |
| Author | <<FILL>> |
| Date | <<FILL>> |

# Why this record exists

USP <1226> says verification is risk-based and deliberately narrower than validation: you select the characteristics at risk given your specific sample and conditions, rather than repeating the full validation. The absence of a documented rationale for excluded characteristics is itself a common finding. This record is where you reason it out and write it down before the data.

# 1. Procedure type

Tick the category, which frames the candidate characteristics.

| Procedure type | Applies? |
| --- | --- |
| Identification | <<FILL>> |
| Quantitative assay (major component) | <<FILL>> |
| Quantitative test for impurities | <<FILL>> |
| Limit test for impurities | <<FILL>> |

# 2. Conditions comparison (your conditions vs the method's assumptions)

| Factor | Method assumes | Your condition | Difference creates risk to |
| --- | --- | --- | --- |
| Matrix / excipients | <<FILL>> | <<FILL>> | <<FILL: specificity, accuracy>> |
| Impurity / degradant profile | <<FILL>> | <<FILL>> | <<FILL: specificity, LOQ>> |
| Instrument platform / detector | <<FILL>> | <<FILL>> | <<FILL: sensitivity, precision>> |
| Sample preparation | <<FILL>> | <<FILL>> | <<FILL: accuracy/recovery>> |
| Number of analysts / instruments / days | <<FILL>> | <<FILL>> | <<FILL: intermediate precision>> |
| Concentration vs published working range | <<FILL>> | <<FILL>> | <<FILL: range>> |

# 3. Characteristic selection decision

| Characteristic | At risk? | Verify? | Rationale (the load-bearing text) |
| --- | --- | --- | --- |
| Specificity / selectivity | <<FILL>> | <<FILL: usually Yes>> | <<FILL: your matrix is the variable; possible coelution>> |
| Accuracy (recovery) | <<FILL>> | <<FILL>> | <<FILL: possible incomplete recovery or matrix bias>> |
| Repeatability | <<FILL>> | <<FILL>> | <<FILL>> |
| Intermediate precision | <<FILL>> | <<FILL>> | <<FILL: yes if more than one analyst/day/instrument>> |
| Detection limit | <<FILL>> | <<FILL>> | <<FILL: low-level impurity work only>> |
| Quantitation limit | <<FILL>> | <<FILL>> | <<FILL: published LOQ established on a different sample>> |
| Linearity | <<FILL>> | <<FILL>> | <<FILL: often excluded; may be covered by SST>> |
| Range | <<FILL>> | <<FILL>> | <<FILL: excluded if published range brackets your spec>> |

# 4. Conclusion

| Field | Entry |
| --- | --- |
| Characteristics to verify | <<FILL: the selected set>> |
| Characteristics excluded (with rationale) | <<FILL: the excluded set and the one-line reason each>> |
| Special cases checked | <<FILL: sterility <71> and endotoxin <85> handled by their own suitability tests, not <1226>; basic compendial tests may need minimal verification unless matrix could affect the result>> |

# 5. References

USP General Chapter <1226> (risk-based verification); <1225> (validation) and <621> (allowable chromatographic adjustments); ICH Q2(R2) for the characteristic definitions. Confirm the current USP-NF edition before issue.

# 6. Approvals

| Role | Name | Signature | Date |
| --- | --- | --- | --- |
| Author (QC SME) | <<FILL>> |  |  |
| Reviewer (method validation group) | <<FILL>> |  |  |
| Approver (QA) | <<FILL>> |  |  |

──────────────────────────────

# Filled specimen

Characteristic selection for the example finished-product assay by HPLC with two novel excipients and two routine analysts (illustrative).

| Characteristic | At risk? | Verify? | Rationale |
| --- | --- | --- | --- |
| Specificity | Yes | Yes | Two excipients not in the monograph's typical matrix; possible coelution with the API |
| Accuracy (recovery) | Yes | Yes | Same novel matrix; possible incomplete recovery or bias |
| Repeatability | Yes | Yes | Confirm method precision in our hands |
| Intermediate precision | Yes | Yes | Two analysts will run the method routinely |
| Linearity / range | No | No | Published working range fully brackets the 90.0 to 110.0% spec; detector linearity well documented |
| LOQ / LOD | No | No | Major-component assay; low-level sensitivity not relevant |

Conclusion (specimen). Verify specificity, accuracy, repeatability, and intermediate precision. Exclude linearity, range, and LOQ/LOD with the rationale above. The method is an assay, so sterility and endotoxin special cases do not apply. This selection is the documented basis for the verification protocol.

# Common findings this record prevents

Two characteristics tested and the rest skipped with no written justification (<1226> is explicitly risk-based).

Specificity ignored for a complex matrix, missing a coelution that inflates assay or hides an impurity.

Treating system suitability as if it replaced specificity, accuracy, or precision.

Verifying sterility or endotoxin under <1226> instead of their own suitability tests.

# How to adapt this record

Complete it before writing the protocol and before generating data.

Make the conditions comparison real: name the actual excipients, platform, and analysts.

Write a one-line rationale for every excluded characteristic; that is what reviewers read first.

Carry the selected set into the verification protocol.

Confirm the current USP-NF edition before issue.